## Slide 1
Energy 201: Your Business/Farm is Committed to Save Energy? What Now? A Dive Into the Process.
Joshua Bills / Mountain Association
Chris Woolery / Mountain Association

## Slide 2: Mountain Association Founded in 1976
Mission: We seek to create economic opportunity, strengthen democracy and support the sustainable use of natural resources.
MACED works toward a just transition to a new economy in Appalachia. We envision an economy that is more diverse, sustainable, equitable and resilient.
Notes: That new economy should be locally based, community-driven, built on regional talent, traditions and assets, and it should embody the vision of a bright future.
Note to presenter: Optional to discuss MACED’s net assets and current loan portfolio here.

## Slide 3: Seven-Step Energy Management Process (EMP)
Make the Commitment
Assess Performance & Opportunities
Set Performance Goals
Create an Action Plan
Implement the Action Plan
Evaluate Progress
Recognize Achievements
Resources:
Energy Star Guidelines for Energy Management; U of L KPPC (Kentucky Resource Center for Environmental Sustainability)
Notes: Step 1: Hiring/appointing an Energy Manager/Coordinator
Establishing a Cross-functional Energy Team
Scheduling regular Energy Team meetings
Instituting an Energy Policy
Becoming an Energy Star Partner

## Slide 4: Assessing Performance & Opportunities
Gather and Track Energy Consumption and Costs
Analyze Energy Use Patterns and Costs – Compare with Peers
Perform assessment/audit of energy use
Energy Billing Evaluation
Scan for All Available Incentives
Resources:
Energy Star Portfolio Manager; Utility Demand-Side-Management (DSM) programs; Utility Tariffs; Utility AMI Metering; State and Federal Opportunities
Notes: Inflation Reduction Act 10x federal investment in clean energy than ever before.

## Slide 5: Kentucky Utility Incentives
Set Up Online Account Access
  -for AMI View My Meter, accessing bills and energy use, accessing DSM incentives
Small Business Direct Install
  -receive energy audit with up to ~$675 worth of installed efficiency upgrades (LED replacement of linear fluorescents, low flow aerators, smart thermostats)
Business Rebates
  -lighting ($3 to $55 per bulb), Air Compressors, Chillers, Custom, Motors, Pumps, Variable Frequency Drives (VFDs)
Business Demand Response
  -for businesses with over 200 kW base demand and above (Power Service and larger rate classes) develop a plan to be able to curtail at least 50 kW when KU calls upon a dispatch event and receive payment incentive check if called upon and successfully curtailed.
There are more than listed here and more coming in 2025 (Peak Time Rebates and Appliance Recycling)

## Slide 6: Host an EV Charging Station
Host an EV Charging Station
  LGE-KU https://lge-ku.com/environment/alternate-fuels-road/ev
  LGE-KU EV Hosting: https://lge-ku.com/environmental/environment/alternate-fuels-road/ev/hosting
  LGE-KU EV Pricing Guide: https://lge-ku.com/sites/default/files/media/files/downloads/EV-Charging-Station-Pricing-Summary-Guide.pdf
  *Hosting is a fixed cost per month for equipment with EV charging sales going to business customer. Option for utility side of meter or slightly lower cost on customer side of meter

## Slide 7: Federal Opportunities
USDA Rural Energy for America Program (REAP) *not available in Fayette County unless you are an Ag Producer
  50 percent of project cost subsidized. Agricultural producers may be located in rural or non-rural areas. Renewable Energy System Grants (e.g. solar) have $2,500 minimum grant and $1,000,000 maximum grant. Energy Efficiency Grants have $1,500 minimum and maximum of $500,000.
  https://www.rd.usda.gov/programs-services/energy-programs/rural-energy-america-program-renewable-energy-systems-energy-efficiency-improvement-guaranteed-loans/ky
  Next Deadline: June 28, 2024 then September 30, 2024
Inflation Reduction Act
  Lots of incentives. Biggest one we work with for-profit businesses currently is the 30% Investment Tax Credit for renewable energy (solar projects) with bonus enhancements for larger percentage based on various criteria.

## Slide 8: KU Advanced Metering Infrastructure (AMI)
NMS-2
GS export $0.07366
GS import $0.11869
PS export $0.07366
PS import $0.03191
Notes: This example customer gets 1:1 NEM
GS export 62% (tariff) import
PS export

## Slide 9: No Demand Charge! Requires average 12 mo. base demand below 50 kW
KU Rate Comparison General Service (GS) Default
Notes: Straight line

## Slide 10: No Demand Charge! Less than 50 kW Ave. Demand
KU Rate Comparison General Service Time-of-Day (GTOD-Energy) Opt-In
Notes: Straight line

## Slide 11: *Note has demand charge! Less than 50 kW Ave. Demand
KU Rate Comparison General Service Time-of-Day Demand (GTOD-Demand) Opt-In
Notes: Straight line

## Slide 12: Exceptionally High Demand Charge! Exceptionally low Energy Charge! Requires between 50 and 250 kW 12 mo. average base demand.
KU Rate Comparison Power Service (PS) Default-No Opt-in Options Available
Notes: Straight line

## Slide 13: 1. Apply online (free in the area we serve)* https://mtassociation.org/energy/apply-for-an-energy-audit 2. Billing review (free) 3. Energy assessment report (free) 4. Package REAP and On-Farm grant applications ($300-2% of project costs). 5. Retrofit prep: Connect with contractors, review quotes, financing 6. Post-retrofit quality assessment *if outside our service territory we likely can connect you to other provider
Ready to See Your Energy Saving Opportunities? Get an energy audit!
Notes: Straight line

## Slide 14
Questions?
859-986-2373 | mtassociation.org | info@mtassociation.org
Berea Office
433 Chestnut Street
Berea, KY 40403
859-986-2373
Hazard Office
420 Main Street
Hazard, KY 41701
606-439-0170
Prestonsburg Office
368 E Friend St, Ste 101
Prestonsburg, KY 41653
606-264-5910
Josh Bills josh@mtassociation.org 859-893-6123
Chris Woolery chris@mtassociation.org 859-621-4765
Financing (limited to counties south and east of Fayette):
https://mtassociation.org/loan-inquiry/